{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Limitations Not Addressed"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Limitations Not Addressed","index":0,"n_rows":143,"n_cols":4,"rows_kept":143,"cut":false,"hidden":false,"merged":[]}
["Limitations Not Addressed"]
[]
["The following limitations currently do not have or require a planned solution."]
["Energex has contingency plans in place and is actively monitoring load developments in the supply area."]
[]
[]
[]
[]
["Supply Point","Class","Limitation","Comments"]
["Albany Creek ZS","11kV Feeder","ACR12A exceeds TMU by 0.4MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Albany Creek ZS","11kV Feeder","ACR5 exceeds TMU by 0.16MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Alexandra Headland ZS","11kV Feeder","AHD17 exceeds TMU by 0.5MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Alexandra Headland ZS","11kV Feeder","AHD18B exceeds TMU by 0.1MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Alexandra Headland ZS","11kV Feeder","AHDKMM11 exceeds TMU by 0.3MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Alexandra Headland ZS","11kV Feeder","AHDKMM23 exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Arana Hills ZS","11kV Feeder","AHL15B exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Arana Hills ZS","11kV Feeder","AHL8A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Acacia Ridge ZS","11kV Feeder","ARG5A exceeds TMU by 0.1MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Astor Terrace ZS","11kV Feeder","ATC16A exceeds TMU by 0.7MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Astor Terrace ZS","11kV Feeder","ATCQAC8 exceeds TMU by 0.5MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Broadbeach ZS","11kV Feeder","BBH10A exceeds TMU by 0.3MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Broadbeach ZS","11kV Feeder","BBH13B exceeds TMU by 0.6MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Broadbeach ZS","11kV Feeder","BBH16A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Belmont ZS","11kV Feeder","BBSRDL12 exceeds TMU by 0.35MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Buranda ZS","11kV Feeder","BDA3A exceeds TMU by 0.1MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Beaudesert ZS","11kV Feeder","BDT5A exceeds TMU by 0.05MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Burpengary ZS","11kV Feeder","BGY5A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Burleigh Heads ZS","11kV Feeder","BHD41A exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Birkdale ZS","11kV Feeder","BKD13A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Birkdale ZS","11kV Feeder","BKD3A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Browns Plains ZS","11kV Feeder","BPN35A exceeds TMU by 0.6MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Brighton ZS","11kV Feeder","BRT6 exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Booval ZS","11kV Feeder","BVL5A exceeds TMU by 1.3MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Caboolture West ZS","11kV Feeder","CBW6 exceeds TMU by 1.39MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Camp Hill ZS","11kV Feeder","CHL3 exceeds TMU by 0.4MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Camp Hill ZS","11kV Feeder","CHL5 exceeds TMU by 0.5MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Camp Hill ZS","11kV Feeder","CHL7 exceeds TMU by 0.3MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Caloundra ZS","11kV Feeder","CLD11 exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Caloundra ZS","11kV Feeder","CLD18A exceeds TMU by 1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Caloundra ZS","11kV Feeder","CLD1A exceeds TMU by 0.1MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Caloundra ZS","11kV Feeder","CLD24A exceeds TMU by 1.9MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Caloundra ZS","11kV Feeder","CLD28A exceeds TMU by 0.6MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Coomera ZS","11kV Feeder","CMA18A exceeds TMU by 0.1MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Calamvale ZS","11kV Feeder","CMV12B exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Cooneana ZS","11kV Feeder","CNA9A exceeds TMU by 0.6MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Carole Park ZS","11kV Feeder","CPK12 exceeds TMU by 1.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Crestmead ZS","11kV Feeder","CRM13A exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Crestmead ZS","11kV Feeder","CRM16A exceeds TMU by 0.4MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Crestmead ZS","11kV Feeder","CRM3A exceeds TMU by 0.3MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Charlotte St ZS","11kV Feeder","CSTQEA29 exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Charlotte St ZS","11kV Feeder","CSTQEC20 exceeds TMU by 1.9MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Charlotte St ZS","11kV Feeder","CSTTCD3 exceeds TMU by 0.6MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Makerston St ZS","11kV Feeder","CTCMST29 exceeds TMU by 2.5MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Deception Bay ZS","11kV Feeder","DBY6 exceeds TMU by 0.4MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Darra ZS","11kV Feeder","DRA12A exceeds TMU by 0.8MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Duffield Road ZS","11kV Feeder","DRD2B exceeds TMU by 0.3MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Duffield Road ZS","11kV Feeder","DRD5A exceeds TMU by 1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Eight Mile Plains Bus 1 ZS","11kV Feeder","EMP2A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Enoggera ZS","11kV Feeder","ENG15A exceeds TMU by 0.1MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Sandgate ZS","11kV Feeder","FGBSGT23 exceeds TMU by 0.1MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["McLachlan St ZS","11kV Feeder","FPTMLS22 exceeds TMU by 0.6MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["McLachlan St ZS","11kV Feeder","FVYMLS27 exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Nudgee ZS","11kV Feeder","GCNNGE15 exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Grovely ZS","11kV Feeder","GLY11A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Grovely ZS","11kV Feeder","GLY3A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Goodna ZS","11kV Feeder","GNA7A exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Gympie ZS","11kV Feeder","GYM8A exceeds TMU by 0.05MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Hope Island ZS","11kV Feeder","HIS12A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Hope Island ZS","11kV Feeder","HIS13A exceeds TMU by 0.5MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Hope Island ZS","11kV Feeder","HIS1B exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Holland Park East ZS","11kV Feeder","HPE13A exceeds TMU by 0.1MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Ipswich South ZS","11kV Feeder","IPS5B exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Jimboomba ZS","11kV Feeder","JBB13A exceeds TMU by 0.3MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Kedron ZS","11kV Feeder","KRN2 exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Kingston ZS","11kV Feeder","KSN1 exceeds TMU by 1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Kingston ZS","11kV Feeder","KSN7 exceeds TMU by 0.41MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Kingston ZS","11kV Feeder","KSN8 exceeds TMU by 1.06MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Kawana ZS","11kV Feeder","KWA10A exceeds TMU by 0.8MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Lytton B ZS","11kV Feeder","LBS4A exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Logan Village ZS","11kV Feeder","LGV5B exceeds TMU by 0.9MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Lota ZS","11kV Feeder","LTA4A exceeds TMU by 0.6MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Mt Cotton ZS","11kV Feeder","MCN3 exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Meeandah ZS","11kV Feeder","MDH4A exceeds TMU by 0.5MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Morayfield ZS","11kV Feeder","MFD12A exceeds TMU by 0.5MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Morayfield ZS","11kV Feeder","MFD13A exceeds TMU by 0.3MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Morayfield ZS","11kV Feeder","MFD2A exceeds TMU by 0.4MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Morayfield ZS","11kV Feeder","MFD3A exceeds TMU by 0.3MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Morayfield ZS","11kV Feeder","MFD8A exceeds TMU by 0.7MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Morayfield North ZS","11kV Feeder","MFN12A exceeds TMU by 0.9MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Morayfield North ZS","11kV Feeder","MFN2B exceeds TMU by 0.1MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Mango Hill Bus 1 ZS","11kV Feeder","MHL1B exceeds TMU by 0.11MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Mango Hill Bus 2 ZS","11kV Feeder","MHL26A exceeds TMU by 0.4MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Mango Hill Bus 1 ZS","11kV Feeder","MHL3A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Mooloolaba ZS","11kV Feeder","MLB13A exceeds TMU by 0.4MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Mooloolaba ZS","11kV Feeder","MLB2A exceeds TMU by 0.8MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Mooloolaba ZS","11kV Feeder","MLB8A exceeds TMU by 0.1MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["McLachlan St ZS","11kV Feeder","MLS11A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["McLachlan St ZS","11kV Feeder","MLS26B exceeds TMU by 4.6MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Murarrie ZS","11kV Feeder","MRE4A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Murarrie ZS","11kV Feeder","MRE8 exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Makerston St ZS","11kV Feeder","MSTSCB28 exceeds TMU by 0.1MW in Winter 2025","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Nambour ZS","11kV Feeder","NBR7A exceeds TMU by 0.1MW in Winter 2025","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["North Maclean ZS","11kV Feeder","NMC13A exceeds TMU by 0.35MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["North Maclean ZS","11kV Feeder","NMC16A exceeds TMU by 1.35MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["North Maclean ZS","11kV Feeder","NMC3B exceeds TMU by 0.21MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Narangba ZS","11kV Feeder","NRA13A exceeds TMU by 2.6MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Narangba ZS","11kV Feeder","NRA15A exceeds TMU by 0.4MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Narangba ZS","11kV Feeder","NRA3B exceeds TMU by 0.4MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Newstead ZS","11kV Feeder","NSD3A exceeds TMU by 0.5MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Newstead ZS","11kV Feeder","NSD8A exceeds TMU by 0.3MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Oxley ZS","11kV Feeder","OXL11A exceeds TMU by 0.4MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Springfield Central ZS","11kV Feeder","PDASFC6 exceeds TMU by 0.34MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Springfield Central ZS","11kV Feeder","PDBSFC12 exceeds TMU by 0.05MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Pimpama East ZS","11kV Feeder","PPE17A exceeds TMU by 1.3MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Pimpama East ZS","11kV Feeder","PPE5A exceeds TMU by 0.5MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Redcliffe ZS","11kV Feeder","RCF1A exceeds TMU by 0.31MW in Winter 2025","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Redland Bay ZS","11kV Feeder","RLB15A exceeds TMU by 0.4MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Redland Bay ZS","11kV Feeder","RLB15B exceeds TMU by 0.4MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Redbank Plains ZS","11kV Feeder","RPN8 exceeds TMU by 0.09MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Victoria Park ZS","11kV Feeder","RRDVPK47 exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Scarborough ZS","11kV Feeder","SBH9 exceeds TMU by 0.8MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Sunnybank ZS","11kV Feeder","SBK21 exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Surfers Paradise ZS","11kV Feeder","SPD11A exceeds TMU by 0.05MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Springfield ZS","11kV Feeder","SPF15A exceeds TMU by 0.6MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Southport ZS","11kV Feeder","SPO69A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Tingalpa ZS","11kV Feeder","TGP9A exceeds TMU by 0.6MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Toowong ZS","11kV Feeder","TWG17 exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Victoria Park ZS","11kV Feeder","VPK42A exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Victoria Park ZS","11kV Feeder","VPK9A exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Wacol ZS","11kV Feeder","WCL13A exceeds TMU by 0.4MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Wacol ZS","11kV Feeder","WCL5A exceeds TMU by 0.2MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["West End ZS","11kV Feeder","WED10 exceeds TMU by 0.5MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["West End ZS","11kV Feeder","WED17B exceeds TMU by 1.3MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["West End ZS","11kV Feeder","WED20A exceeds TMU by 0.1MW in Summer 2026/27","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["West Maroochydore ZS","11kV Feeder","WMD11A exceeds TMU by 0.4MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Wellington Rd ZS","11kV Feeder","WRD22B exceeds TMU by 0.1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Wellington Rd ZS","11kV Feeder","WRD25B exceeds TMU by 0.1MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Woodridge ZS","11kV Feeder","WRG5A exceeds TMU by 1MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Yamanto ZS","11kV Feeder","YMT6A exceeds TMU by 0.4MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Yatala ZS","11kV Feeder","YTA33A exceeds TMU by 0.4MW in Summer 2025/26","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Yatala ZS","11kV Feeder","YTA35A exceeds TMU by 0.7MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Yatala ZS","11kV Feeder","YTA43A exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]
["Zillmere ZS","11kV Feeder","ZMR5 exceeds TMU by 0.2MW in Summer 2024/25","Operational decision to deploy generators or load transfers. Load growth and block loads being monitored."]