## Notes
Limitations Not Addressed
(Energex Distribution Annual Planning Report 2025/26 - 2029/30)
This workbook lists the limitations that have been identified but have no proposed investments to address the limits within the next 5 years.
Energex Distribution Annual Planning Report is prepared and made available solely for information purposes. While care was taken in the preparation of the information in this report, and it is provided in good faith, Energex accepts no responsibility or liability (including without limitation, liability to any person by reason of negligence or negligent mis-statement) for any loss or damage that may be incurred by any person acting in reliance on this information or assumptions drawn from it, except to the extent that liability under any applicable Queensland or Commonwealth of Australia statute cannot be excluded.
It contains assumptions regarding, among other things, economic growth and load forecasts which may or may not prove to be correct. The forecasts included in the document involve subjective judgements and analysis which are subject to significant uncertainties and contingencies, many of which are out of the control of Energex. Furthermore, forecasted data is subject to ongoing variation as new information becomes available. Energex makes no representation or warranty as to the accuracy, reliability, completeness or suitability for any particular purpose of the information in this document. All information should be independently investigated, reviewed, analysed and verified, and must not be relied upon in connection with any investment proposal or decision.

## Limitations Not Addressed
Limitations Not Addressed
The following limitations currently do not have or require a planned solution.
Energex has contingency plans in place and is actively monitoring load developments in the supply area.
Location:
Links to maps of Energex’s network showing the location of all Energex’s bulk supply and zone substations can be found in the body of the DAPR.
Supply Point | Class | Limitation | Comments
Belmont 110kV CP | Bulk Supply Substation | Cleveland BS N-1 limitation for the loss of a 110/33 kV 120MVA transformer | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Loganlea 110kV CP | Bulk Supply Substation | Beenleigh BS NCC/N-1 limitation for the loss of a 110/33 kV 80MVA transformer | Monitoring load development.
Loganlea 110kV CP | Bulk Supply Substation | Browns Plains BS N-1 limitation for the loss of a 110/33 kV 120MVA transformer | Monitoring load development.
Molendinar 110kV CP | Bulk Supply Substation | Coomera BS N-1 limitation for the loss of a 110/33 kV 80MVA transformer | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Abermain ZS | Zone Substation | Marburg ZS forecast load exceeds NCC rating | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Algester BS | Zone Substation | Calamvale ZS N-1 limitation for the loss of a 33/11 kV 25MVA transformer | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Beenleigh BS | Zone Substation | Coomera ZS N-1 limitation for the loss of a 33/11 kV 25MVA transformer | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Beerwah BS | Zone Substation | Woodford ZS N-1 limitation for the loss of a 33/11 kV 15MVA transformer | Monitoring load development.
Beerwah BS | Zone Substation | Landsborough ZS N-1 limitation for the loss of a 33/11 kV 25MVA transformer | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Brendale BS | Zone Substation | Whiteside ZS N-1 limitation for the loss of a 33/11 kV 15MVA transformer | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Caboolture BS | Zone Substation | Caboolture West ZS N-1 limitation for the loss of a 33/11 kV 25MVA transformer | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Coomera BS | Zone Substation | Pimpama ZS N-1 limitation for the loss of a 33/11 kV 25MVA transformer | Monitoring load development.
Coomera BS | Zone Substation | Hope Island ZS N-1 limitation for the loss of a 33/11 kV 25MVA transformer | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Griffin BS | Zone Substation | Petrie ZS N-1 limitation for the loss of a 33/11 kV 25MVA transformer | Monitoring load development.
Griffin BS | Zone Substation | Kallangur ZS NCC/N-1 limitation for the loss of a 33/11 kV 25MVA transformer | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Lockrose BS | Zone Substation | Wivenhoe ZS N-1 limitation for the loss of a 33/11 kV 6.5MVA transformer | Monitoring load development.
Loganlea 110kV CP | Zone Substation | Yatala ZS Bus 3 N-1 limitation for the loss of a 33/11 kV 60MVA transformer | Monitoring load development.
Lytton BS | Zone Substation | Fishermans Island B ZS NCC/N-1 limitation for the loss of a 33/11 kV 25MVA transformer | Monitoring load development.
Mudgeeraba BS | Zone Substation | Mudgeeraba West Package ZS N-1 limitation for the loss of a 33/11 kV 25MVA transformer | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Nambour BS | Zone Substation | Palmwoods Central ZS NCC/N-1 limitation for the loss of a 33/11 kV 15MVA transformer | Monitoring load development.
Palmwoods 132kV CP | Zone Substation | Bells Creek Central ZS N-1 limitation for the loss of a 110/11 kV 60MVA transformer | Monitoring load development.
Palmwoods 132kV CP | Zone Substation | Mooloolaba ZS N-1 limitation for the loss of a 132/11 kV 30MVA transformer | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Sandgate BS | Zone Substation | Bald Hills ZS Bus 2 N-1 limitation for the loss of a 33/11 kV 25MVA transformer | Monitoring load development.
Sandgate BS | Zone Substation | Zillemere ZS N-1 limitation for the loss of a 33/11 kV 25MVA transformer | Monitoring load development.
Woolooga 132kV CP | Zone Substation | Cornubia ZS N-1 limitation for the loss of a 33/11 kV 25MVA transformer | Monitoring load development.
Abermain CP | 110kV Feeder | Feeder F7259/1 and F7259/2 forecast load exceeds NCC rating | Operational strategy to transfer load and deploy generators.
Belmont 110kV CP | 110kV Feeder | Feeder F750 N-1 limitation following the loss of F7283 | Monitoring load development.
Loganlea 110kV CP | 110kV Feeder | Feeder F704 N-1 limitation following the loss of F7283 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Loganlea 110kV CP | 110kV Feeder | Feeder F836 N-1 limitation following the loss of F843 | Monitoring load development.
Loganlea 110kV CP | 110kV Feeder | Feeder F843 N-1 limitation following the loss of F836 | Monitoring load development.
Molendinar 110kV CP | 110kV Feeder | Feeder F7193 N-1 limitation following the loss of F7297 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Molendinar 110kV CP | 110kV Feeder | Feeder F7297 N-1 limitation following the loss of F7193 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Molendinar 110kV CP | 110kV Feeder | Feeder F7283 N-1 limitation following the loss of F704 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Postmans Ridge CP | 110kV Feeder | Feeder F726 forecast load exceeds NCC rating | Operational strategy to transfer load and deploy generators.
South Pine CP | 110kV Feeder | Feeder F745 N-1 limitation following the loss of F746 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
South Pine CP | 110kV Feeder | Feeder F746 N-1 limitation following the loss of F745 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Abermain BS | 33kV Feeder | Feeder 436 N-1 limitation following the loss of feeder 387 | Operational strategy to reconfigure network during high demand periods.
Abermain BS | 33kV Feeder | Feeder 364 N-1 limitation following the loss of feeder 436 | Operational strategy to reconfigure network during high demand periods.
Beenleigh BS | 33kV Feeder | Feeder 453 forecast load exceeds NCC rating | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Beenleigh BS | 33kV Feeder | Feeder 3620 N-1 limitation following the loss of feeder 470 | Monitoring load development.
Browns Plains BS | 33kV Feeder | Feeder 406A&B N-1 limitation following the loss of feeder 453 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Browns Plains BS | 33kV Feeder | Feeder 481 N-1 limitation following the loss of feeder 453 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Browns Plains BS | 33kV Feeder | Feeder 482 N-1 limitation following the loss of feeder 453 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Burleigh Heads BS | 33kV Feeder | Feeder 3751 N-1 limitation following the loss of feeder 3755 | Monitoring load development.
Burleigh Heads BS | 33kV Feeder | Feeder 3755 N-1 limitation following the loss of feeder 3751 | Monitoring load development.
Caboolture BS | 33kV Feeder | Feeder 321 N-1 limitation following the loss of feeder 322 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Caboolture BS | 33kV Feeder | Feeder 322 N-1 limitation following the loss of feeder 321 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Coomera BS | 33kV Feeder | Feeder 3641 N-1 limitation following the loss of feeder 3642 | Monitoring load development.
Coomera BS | 33kV Feeder | Feeder 3642 N-1 limitation following the loss of feeder 3641 | Monitoring load development.
Griffin BS | 33kV Feeder | Feeder 320 N-1 limitation following the loss of feeder 3359 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Griffin BS | 33kV Feeder | Feeder 3359 N-1 limitation following the loss of feeder 320 | Monitoring load development.
Hays Inlet BS | 33kV Feeder | Feeder 325 N-1 limitation following the loss of feeder 332 | Monitoring load development.
Hays Inlet BS | 33kV Feeder | Feeder 3251 N-1 limitation following the loss of feeder 448 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Molendinar BS | 33kV Feeder | Feeder 474A N-1 limitation following the loss of feeder 394 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Nambour BS | 33kV Feeder | Feeder 307 N-1 limitation following the loss of feeder 3100 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Nambour BS | 33kV Feeder | Feeder 347 N-1 limitation following the loss of feeder 348 or 608 | Monitoring load development.
Raceview BS | 33kV Feeder | Feeder 362 N-1 limitation following the loss of feeder 3960 | Monitoring load development.
Raceview BS | 33kV Feeder | Feeder 363 N-1 limitation following the loss of feeder 3960 | Monitoring load development.
Richlands BS | 33kV Feeder | Feeder 618 N-1 limitation following the loss of feeder 542 | Monitoring load development.
Richlands BS | 33kV Feeder | Feeder 619 N-1 limitation following the loss of feeder 618 | Monitoring load development.
Runcorn BS | 33kV Feeder | Feeder 3440 forecast load exceeds NCC rating | Monitoring load development.
Sunrise Hills BS | 33kV Feeder | Feeder 3100 forecast load exceeds NCC rating | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.
Tennyson BS | 33kV Feeder | Feeder 539 N-1 limitation following the loss of feeder 571 | Planning studies currently in progress, mitigation works likely to be beyond FY2029/30.